## Лист1
BORRI Code | DESCRIPTION | Unit Price
PB553 | MAIN CONTROL LOGIC | 3508.29
PB004 | INVERTER ACTUAL VALUE 3/F | 373.23
PB300 | VOLTAGE REFERENCE 3/F | 995.25
PB246 | IGBT DRIVE RECTIFIER | 311.01
PB016V | 2SCR FIRING INVERTER | 178.32
PB016R | 2SCR FIRING BYPASS | 178.32
PB023 | RECTIFIER THYRISTORS FIRING | 684.24
PB342 | FREE CONTACT INTERFACE | 269.55
PB299 | POWER SUPPLY | 1733.4
PB246 | IGBT DRIVE INVERTER | 311.01
PB352 | IGBT DRIVE INVERTER | 331.74
PB542 | PRECHARGE THYRISTOR CARD | 1098.93
PB540 | UPS INTERFACE CARD | 2508.87
PB314 | NPE -FIL | 124.41
PB432 | POWER SUPPLY | 1638.03
PB584 | MAIN CONTROL LOGIC | 3508.29
PB491 | BRIDGE WRC | 1028.43
PB577 | VOLTAGE REFERENCE | 447.87
PB598 | BOOSTER DRIVER CARD | 311.01
PB023 | RECTIFIER DRIVER CARD | 684.24
PB598 | INVERTER DRIVER CARD | 311.01
PB599 | INVERTER DRIVER CARD | 311.01
PB592 | STATIC SWITCH DRIVER CARD | 995.25
PB574 | STATIC SWITCH DRIVER CARD | 779.61
PB251 | CONV.SER/USB | 323.46
PB216 | BYPASS TEST SWITCH | 145.14
PB573 | BACK PANEL | 883.29
PB579 | DISPLAY | 497.64
PB593 | LED CARD | 116.1
PB211 | DISPLAY | 974.52
PB597 | BACK-FEED PROBE | 155.52
SCRD0323A12V | RECTIFIER POWER MODULE | 510.06
SCRD0132A12V | INVERTER STATIC SWITCH THYRISTORS | 232.23
SCRD0132A12V | BYPASS STAT.SWITCH THYRISTORS | 232.23
SCRD0323A12V | INVERTER STATIC SWITCH THYRISTORS | 510.06
SCRD0323A12V | BYPASS STAT.SWITCH THYRISTORS | 510.06
IGD200A12V003 | IGBT RECTIFIER | 530.79
IGD300A12V003 | IGBT RECTIFIER | 626.19
IGD400A12V003 | IGBT RECTIFIER | 771.33
IGD200A12V003 | IGBT INVERTER POWER BRIDGE | 530.79
IGD300A12V003 | IGBT INVERTER POWER BRIDGE | 626.19
IGD400A12V003 | IGBT INVERTER POWER BRIDGE | 771.33
VC133D-KIT005 | FAN | 1007.7
VC133D-KIT04 | FAN | 945.48
CC3900U500V | DC CAPACITORS 3900uF 500V | 306.87
CA0200U250V | AC FILTER CAPACITORS 200uF-250V | 141
CA0400U250V | AC FILTER CAPACITORS 400uF-250V | 257.1
CC0002U1K0V | DC CAPACITORS 2uF 1000 V | 45.63
DIS140A15V | DIODE SINGLE 140A 1500V | 161.73
SCR+D091A12V | BATTERY SCR | 111.96
SCR+D132A12V | BATTERY SCR | 236.37
SCR+D172A16V001 | BATTERY SCR | 248.82
SCRD0091A12V001 | BYPASS/INVERTER SCR STATIC SWITCH | 111.96
SCRD0132A12V001 | BYPASS/INVERTER SCR STATIC SWITCH | 236.37
SCRD0172A16V001 | BYPASS/INVERTER SCR STATIC SWITCH | 248.82
SCRD0132A12V001 | RECTIFIER SCR | 236.37
IGS150A12V003 | IGBT BOOSTER POSITIVE | 306.87
IGS150A12V002 | IGBT BOOSTER NEGATIVE | 306.87
MOCU300A12V | IGBT BOOSTER | 626.19
IGD200A12V003 | IGBT INVERTER | 530.79
IGD300A12V003 | IGBT INVERTER | 626.19
IGD400A12V003 | IGBT INVERTER | 771.33
CA0100U330V | INPUT CAPACITOR FILTER | 107.82
CA0200U250V001 | INPUT CAPACITOR FILTER | 141
CA0400U250V | OUTPUT AC CAPACITOR | 257.1
CA0200U250V001 | OUTPUT AC CAPACITOR | 141
CC4700U450V | BOOSTER/INVERTER DC CAPACITOR | 306.87
CC0002U1K0V001 | BOOSTER CLAMP CAPACITOR | 49.77
VA120D230VA | STATIC SWITCH FAN | 91.23
VA150D230VA | STATIC SWITCH FAN | 232.23